SNOHOMISH COUNTY PUBLIC UTILITY DISTRICT NO. 1

Preliminary Application for Operation of Customer-Owned Generation

FORM 6-1

Who should file this application:  Any customer(s) expressing interest to install generation on their premises.  This application should be completed as soon as possible and returned to a District representative in order to begin processing the request.

Information:  This application is used by the District to perform a Preliminary Interconnection Study to determine the interface requirements at the customer’s service point.  The applicant should attempt to fill in as much of the form as possible.  The applicant will receive a preliminary estimate for the utility interface requirements that may be used in calculating the overall project requirements.

Further Action:  The Preliminary Interconnection Study will determine the need to submit a copy of the Final Application for Parallel Operation of Customer-Owned Generation.

Equipment Testing:  Prior to final approval of the customer’s generation, protective and control system testing is required.  District representatives and Owner representatives must be present to witness and verify the testing for proper operation.

Owner/Applicant Information

Company

Mailing Address

City        	County        	State       	Zip

Phone        	Representative

Project Design/Engineering (Architect) (as applicable)

Company

Mailing Address

City       	County       	State       	Zip

Phone        	Representative

Electrical Contractor (as applicable)

Company

Mailing Address

City       	County       	State      	Zip

Phone         	Representative

Generator Data

Manufacturer (if available)       	Model

Type:   Synchronous         Induction     Phases:   Single     Three       Frequency (Hz)

Rated Output:       		kW	     	kVA

Rated Power Factor:      		(%)	Rated Voltage (Volts):        	Rated Amperes:

Energy Source (gas, steam, hydro, etc.)

Transfer Switch Data

Manufacturer        	Model

Type        		Rating          	 ANSI /UL 1008 Listed?	 	YES  	 NO

What Standards does it meet?

Is transfer switch operational in closed-transition mode?   YES  	NO

What is maximum time the transfer switch takes to operate?

Can it be programmed to operate in parallel with District

for more than 100 milliseconds (0.100 sec)?	 YES  	NO

Estimated Load Information

The following information will be used to help properly design the District/customer interconnection.  This information is not intended as a commitment or contract for billing purposes.

Minimum anticipated load (generation not operating)         	kW         		 kVA

Maximum anticipated load (generation not operating)        	kW         		 kVA

Description of Proposed Installation and Operation

Please attach a single line diagram showing the customer’s primary switchgear, transformers, and generation facilities.  Give a general description of the manner of operation of the generation (cogeneration, peak shaving, emergency power, etc.)  Please attach additional sheets if necessary.

Signature

Applicant Signature       	Date

Information below to be completed by Snohomish County Public Utility District

PUD Customer Service Representative completes the following:

Executive Account Rep      	Phone

Project Name

Street Address

City      	County      	Phone

District service point location

(Attach map if available)

Copy of Application and attachment to:

System Planning & Protection Manager

* Original of this document to be retained in customer’s file in Customer Service Department *